CALIBRATION CERTIFICATE

AT2327 Alarm Dosimeter	Date of calibration: $date.

Type: $en_type $en_container

SN: $srk_serial

Typical sensitivity to gamma radiation 137CS :	($delt ± $pog_delt) cps/kBq;

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h
Calibration means:
     - $facility_src_cs_eng;

Calibration data

$en_type SN $bd_num1$
Measured background / count rate, s-1		Measured count rate value / from the reference source, / s-1		Source activity, / кBq	DU / estimated value sensitivity / Sp, s-1·кBq-1	Absolute / error of DU sensitivity / Δ=$delt-Sp, / s-1·кBq-1	Compliance condition according to specifications / Δ, not above / s-1·кBq-1
Measurement results	Average value	Measurement results	Average value
$1-11	$bg_avr1	$1-21	$sr_avr1	$activity	$sence1	$pogr1	± $pog_delt
$1-12		$1-22
$1-13		$1-23
$1-14		$1-24
$1-15		$1-25

$en_type SN $bd_num2$
Measured background / count rate, s-1		Measured count rate value / from the reference source, / s-1		Source activity, / кBq	DU / estimated value sensitivity / Sp, s-1·кBq-1	Absolute / error of DU sensitivity / Δ=$delt-Sp, / s-1·кBq-1	Compliance condition according to specifications / Δ, not above / s-1·кBq-1
Measurement results	Average value	Measurement results	Average value
$2-11	$bg_avr2	$2-21	$sr_avr2	$activity	$sence2	$pogr2	± $pog_delt
$2-12		$2-22
$2-13		$2-23
$2-14		$2-24
$2-15		$2-25

$en_type SN $bd_num3$
Measured background / count rate, s-1		Measured count rate value / from the reference source, / s-1		Source activity, / кBq	DU / estimated value sensitivity / Sp, s-1·кBq-1	Absolute / error of DU sensitivity / Δ=$delt-Sp, / s-1·кBq-1	Compliance condition according to specifications / Δ, not above / s-1·кBq-1
Measurement results	Average value	Measurement results	Average value
$3-11	$bg_avr3	$3-21	$sr_avr3	$activity	$sence3	$pogr3	± $pog_delt
$3-12		$3-22
$3-13		$3-23
$3-14		$3-24
$3-15		$3-25

$en_type SN $bd_num4$
Measured background / count rate, s-1		Measured count rate value / from the reference source, / s-1		Source activity, / кBq	DU / estimated value sensitivity / Sp, s-1·кBq-1	Absolute / error of DU sensitivity / Δ=$delt-Sp, / s-1·кBq-1	Compliance condition according to specifications / Δ, not above / s-1·кBq-1
Measurement results	Average value	Measurement results	Average value
$4-11	$bg_avr4	$4-21	$sr_avr4	$activity	$sence4	$pogr4	± $pog_delt
$4-12		$4-22
$4-13		$4-23
$4-14		$4-24
$4-15		$4-25

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)