CALIBRATION CERTIFICATE
Date of calibration:	$date
Type:	Dosimetric gamma radiation detection unit BDKG-23
S/N:	$allSerial
Measurement limits:	{dot {Ka}} rsub {0i} : 0.1 µGy/h – 100 Gy/h
Measurement error:	±20%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	$preasure kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_k_110$;
- $eng_facility_k_130$;

Calibration data

BDKG-23 S/N: $bd_num1$
Conventionally true value of the dose rate from 137Cs radionuclide, {dot {Ka}} rsub {0i}	Calibration data, / {bar {dot {Ka}}} rsub {i}
0.7 µGy/h	$1-00 µGy/h
7 µGy/h	$1-01 µGy/h
70 µGy/h	$1-02 µGy/h
0.7 mGy/h	$1-03 mGy/h
7.0 mGy/h	$1-04 mGy/h
70 mGy/h	$1-05 mGy/h
0.7 Gy/h	$1-06 Gy/h
7 Gy/h	$1-07 Gy/h
40 Gy/h	$1-08 Gy/h

$eng_certificate_text$.

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)