CALIBRATION CERTIFICATE
Date of calibration:	$date
Type:	Dosimetric gamma radiation detection unit BDKG-23/1
S/N:	$allSerial
Measurement limits:	γ: 0.1 µSv/h – 100 Sv/h
Measurement error:	±20%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	$preasure kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_110$;
- $eng_facility_130$.

Calibration data

BDKG-23/1 S/N: $bd_num1$
Conventionally true value of the dose rate from 137Cs radionuclide, {dot {H}} rsub {0i} rsup {"*"} (10)	Calibration data, / {bar {dot {H}}} rsub {i} rsup {"*"} (10)
0.7 µSv/h	$1-00 µSv/h
7 µSv/h	$1-01 µSv/h
70 µSv/h	$1-02 µSv/h
0.7 mSv/h	$1-03 mSv/h
7.0 mSv/h	$1-04 mSv/h
70 mSv/h	$1-05 mSv/h
0.7 Sv/h	$1-06 Sv/h
7 Sv/h	$1-07 Sv/h
40 Sv/h	$1-08 Sv/h

The dosimetric gamma radiation detection unit complies with the measurement specifications in the User’s Manual.

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)