CALIBRATION CERTIFICATE
AT2327 Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-11/1

Measurement limits: BDKG-11/1: γ 0.01 µSv/h – 100 µSv/h;

Measurement error: BDKG-11/1: ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
$eng_facility_110;
Calibration data

BDKG-11/1 () sn: $bd_num1
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$1-30.	$1-40.	$1-50.	$1-60.	$1-70.	$1-80.	$1-00.	$1-10.	$1-20.	±20
0.07 Sv/h	$1-31.	$1-41.	$1-51.	$1-61.	$1-71.	$1-81.	$1-01.	$1-11.	$1-21.
0.7 Sv/h	$1-32.	$1-42.	$1-52.	$1-62.	$1-72.	$1-82.	$1-02.	$1-12.	$1-22.
7 Sv/h	$1-33.	$1-43.	$1-53.	$1-63.	$1-73.	$1-83.	$1-03.	$1-13.	$1-23.
70 Sv/h	$1-34.	$1-44.	$1-54.	$1-64.	$1-74.	$1-84.	$1-04.	$1-14.	$1-24.

BDKG-11/1 () sn: $bd_num2
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$2-30.	$2-40.	$2-50.	$2-60.	$2-70.	$2-80.	$2-00.	$2-10.	$2-20.	±20
0.07 Sv/h	$2-31.	$2-41.	$2-51.	$2-61.	$2-71.	$2-81.	$2-01.	$2-11.	$2-21.
0.7 Sv/h	$2-32.	$2-42.	$2-52.	$2-62.	$2-72.	$2-82.	$2-02.	$2-12.	$2-22.
7 Sv/h	$2-33.	$2-43.	$2-53.	$2-63.	$2-73.	$2-83.	$2-03.	$2-13.	$2-23.
70 Sv/h	$2-34.	$2-44.	$2-54.	$2-64.	$2-74.	$2-84.	$2-04.	$2-14.	$2-24.

BDKG-11/1 () sn: $bd_num3
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$3-30.	$3-40.	$3-50.	$3-60.	$3-70.	$3-80.	$3-00.	$3-10.	$3-20.	±20
0.07 Sv/h	$3-31.	$3-41.	$3-51.	$3-61.	$3-71.	$3-81.	$3-01.	$3-11.	$3-21.
0.7 Sv/h	$3-32.	$3-42.	$3-52.	$3-62.	$3-72.	$3-82.	$3-02.	$3-12.	$3-22.
7 Sv/h	$3-33.	$3-43.	$3-53.	$3-63.	$3-73.	$3-83.	$3-03.	$3-13.	$3-23.
70 Sv/h	$3-34.	$3-44.	$3-54.	$3-64.	$3-74.	$3-84.	$3-04.	$3-14.	$3-24.

BDKG-11/1 () sn: $bd_num4
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$4-30.	$4-40.	$4-50.	$4-60.	$4-70.	$4-80.	$4-00.	$4-10.	$4-20.	±20
0.07 Sv/h	$4-31.	$4-41.	$4-51.	$4-61.	$4-71.	$4-81.	$4-01.	$4-11.	$4-21.
0.7 Sv/h	$4-32.	$4-42.	$4-52.	$4-62.	$4-72.	$4-82.	$4-02.	$4-12.	$4-22.
7 Sv/h	$4-33.	$4-43.	$4-53.	$4-63.	$4-73.	$4-83.	$4-03.	$4-13.	$4-23.
70 Sv/h	$4-34.	$4-44.	$4-54.	$4-64.	$4-74.	$4-84.	$4-04.	$4-14.	$4-24.

BDKG-11/1 () sn: $bd_num5
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$5-30.	$5-40.	$5-50.	$5-60.	$5-70.	$5-80.	$5-00.	$5-10.	$5-20.	±20
0.07 Sv/h	$5-31.	$5-41.	$5-51.	$5-61.	$5-71.	$5-81.	$5-01.	$5-11.	$5-21.
0.7 Sv/h	$5-32.	$5-42.	$5-52.	$5-62.	$5-72.	$5-82.	$5-02.	$5-12.	$5-22.
7 Sv/h	$5-33.	$5-43.	$5-53.	$5-63.	$5-73.	$5-83.	$5-03.	$5-13.	$5-23.
70 Sv/h	$5-34.	$5-44.	$5-54.	$5-64.	$5-74.	$5-84.	$5-04.	$5-14.	$5-24.

BDKG-11/1 () sn: $bd_num6
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$6-30.	$6-40.	$6-50.	$6-60.	$6-70.	$6-80.	$6-00.	$6-10.	$6-20.	±20
0.07 Sv/h	$6-31.	$6-41.	$6-51.	$6-61.	$6-71.	$6-81.	$6-01.	$6-11.	$6-21.
0.7 Sv/h	$6-32.	$6-42.	$6-52.	$6-62.	$6-72.	$6-82.	$6-02.	$6-12.	$6-22.
7 Sv/h	$6-33.	$6-43.	$6-53.	$6-63.	$6-73.	$6-83.	$6-03.	$6-13.	$6-23.
70 Sv/h	$6-34.	$6-44.	$6-54.	$6-64.	$6-74.	$6-84.	$6-04.	$6-14.	$6-24.

BDKG-11/1 () sn: $bd_num7
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$7-30.	$7-40.	$7-50.	$7-60.	$7-70.	$7-80.	$7-00.	$7-10.	$7-20.	±20
0.07 Sv/h	$7-31.	$7-41.	$7-51.	$7-61.	$7-71.	$7-81.	$7-01.	$7-11.	$7-21.
0.7 Sv/h	$7-32.	$7-42.	$7-52.	$7-62.	$7-72.	$7-82.	$7-02.	$7-12.	$7-22.
7 Sv/h	$7-33.	$7-43.	$7-53.	$7-63.	$7-73.	$7-83.	$7-03.	$7-13.	$7-23.
70 Sv/h	$7-34.	$7-44.	$7-54.	$7-64.	$7-74.	$7-84.	$7-04.	$7-14.	$7-24.

BDKG-11/1 () sn: $bd_num8
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$8-30.	$8-40.	$8-50.	$8-60.	$8-70.	$8-80.	$8-00.	$8-10.	$8-20.	±20
0.07 Sv/h	$8-31.	$8-41.	$8-51.	$8-61.	$8-71.	$8-81.	$8-01.	$8-11.	$8-21.
0.7 Sv/h	$8-32.	$8-42.	$8-52.	$8-62.	$8-72.	$8-82.	$8-02.	$8-12.	$8-22.
7 Sv/h	$8-33.	$8-43.	$8-53.	$8-63.	$8-73.	$8-83.	$8-03.	$8-13.	$8-23.
70 Sv/h	$8-34.	$8-44.	$8-54.	$8-64.	$8-74.	$8-84.	$8-04.	$8-14.	$8-24.

BDKG-11/1 () sn: $bd_num9
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$9-30.	$9-40.	$9-50.	$9-60.	$9-70.	$9-80.	$9-00.	$9-10.	$9-20.	±20
0.07 Sv/h	$9-31.	$9-41.	$9-51.	$9-61.	$9-71.	$9-81.	$9-01.	$9-11.	$9-21.
0.7 Sv/h	$9-32.	$9-42.	$9-52.	$9-62.	$9-72.	$9-82.	$9-02.	$9-12.	$9-22.
7 Sv/h	$9-33.	$9-43.	$9-53.	$9-63.	$9-73.	$9-83.	$9-03.	$9-13.	$9-23.
70 Sv/h	$9-34.	$9-44.	$9-54.	$9-64.	$9-74.	$9-84.	$9-04.	$9-14.	$9-24.

BDKG-11/1 () sn: $bd_num10
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 Sv/h	$10-30.	$10-40.	$10-50.	$10-60.	$10-70.	$10-80.	$10-00.	$10-10.	$10-20.	±20
0.07 Sv/h	$10-31.	$10-41.	$10-51.	$10-61.	$10-71.	$10-81.	$10-01.	$10-11.	$10-21.
0.7 Sv/h	$10-32.	$10-42.	$10-52.	$10-62.	$10-72.	$10-82.	$10-02.	$10-12.	$10-22.
7 Sv/h	$10-33.	$10-43.	$10-53.	$10-63.	$10-73.	$10-83.	$10-03.	$10-13.	$10-23.
70 Sv/h	$10-34.	$10-44.	$10-54.	$10-64.	$10-74.	$10-84.	$10-04.	$10-14.	$10-24.

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)