CALIBRATION CERTIFICATE
Type: X-ray and gamma radiation dosimeter $type	Date of calibration: $date.

S/N: $allSerial

Measurement limits:
$type: γ 50 nSv/h – 10 Sv/h;

Measurement error:
$type: ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

$facility_13+11eng;

Calibration data

$type (γ) s/n: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20	±15
0,7 Sv/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
7 Sv/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
70 Sv/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23
0.7 mSv/h	$1-34	$1-44	$1-54	$1-64	$1-74	$1-84	$1-04	$1-14	$1-24
7,0 mSv/h	$1-35	$1-45	$1-55	$1-65	$1-75	$1-85	$1-05	$1-15	$1-25
70 mSv/h	$1-36	$1-46	$1-56	$1-66	$1-76	$1-86	$1-06	$1-16	$1-26
0,7 Sv/h	$1-37	$1-47	$1-57	$1-67	$1-77	$1-87	$1-07	$1-17	$1-27
7 Sv/h	$1-38	$1-48	$1-58	$1-68	$1-78	$1-88	$1-08	$1-18	$1-28

$type (γ) s/n: $bd_num2$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$2-30	$2-40	$2-50	$2-60	$2-70	$2-80	$2-00	$2-10	$2-20	±15
0,7 Sv/h	$2-31	$2-41	$2-51	$2-61	$2-71	$2-81	$2-01	$2-11	$2-21
7 Sv/h	$2-32	$2-42	$2-52	$2-62	$2-72	$2-82	$2-02	$2-12	$2-22
70 Sv/h	$2-33	$2-43	$2-53	$2-63	$2-73	$2-83	$2-03	$2-13	$2-23
0.7 mSv/h	$2-34	$2-44	$2-54	$2-64	$2-74	$2-84	$2-04	$2-14	$2-24
7,0 mSv/h	$2-35	$2-45	$2-55	$2-65	$2-75	$2-85	$2-05	$2-15	$2-25
70 mSv/h	$2-36	$2-46	$2-56	$2-66	$2-76	$2-86	$2-06	$2-16	$2-26
0,7 Sv/h	$2-37	$2-47	$2-57	$2-67	$2-77	$2-87	$2-07	$2-17	$2-27
7 Sv/h	$2-38	$2-48	$2-58	$2-68	$2-78	$2-88	$2-08	$2-18	$2-28

$type (γ) s/n: $bd_num3$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$3-30	$3-40	$3-50	$3-60	$3-70	$3-80	$3-00	$3-10	$3-20	±15
0,7 Sv/h	$3-31	$3-41	$3-51	$3-61	$3-71	$3-81	$3-01	$3-11	$3-21
7 Sv/h	$3-32	$3-42	$3-52	$3-62	$3-72	$3-82	$3-02	$3-12	$3-22
70 Sv/h	$3-33	$3-43	$3-53	$3-63	$3-73	$3-83	$3-03	$3-13	$3-23
0.7 mSv/h	$3-34	$3-44	$3-54	$3-64	$3-74	$3-84	$3-04	$3-14	$3-24
7,0 mSv/h	$3-35	$3-45	$3-55	$3-65	$3-75	$3-85	$3-05	$3-15	$3-25
70 mSv/h	$3-36	$3-46	$3-56	$3-66	$3-76	$3-86	$3-06	$3-16	$3-26
0,7 Sv/h	$3-37	$3-47	$3-57	$3-67	$3-77	$3-87	$3-07	$3-17	$3-27
7 Sv/h	$3-38	$3-48	$3-58	$3-68	$3-78	$3-88	$3-08	$3-18	$3-28

$type (γ) s/n: $bd_num4$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$4-30	$4-40	$4-50	$4-60	$4-70	$4-80	$4-00	$4-10	$4-20	±15
0,7 Sv/h	$4-31	$4-41	$4-51	$4-61	$4-71	$4-81	$4-01	$4-11	$4-21
7 Sv/h	$4-32	$4-42	$4-52	$4-62	$4-72	$4-82	$4-02	$4-12	$4-22
70 Sv/h	$4-33	$4-43	$4-53	$4-63	$4-73	$4-83	$4-03	$4-13	$4-23
0.7 mSv/h	$4-34	$4-44	$4-54	$4-64	$4-74	$4-84	$4-04	$4-14	$4-24
7,0 mSv/h	$4-35	$4-45	$4-55	$4-65	$4-75	$4-85	$4-05	$4-15	$4-25
70 mSv/h	$4-36	$4-46	$4-56	$4-66	$4-76	$4-86	$4-06	$4-16	$4-26
0,7 Sv/h	$4-37	$4-47	$4-57	$4-67	$4-77	$4-87	$4-07	$4-17	$4-27
7 Sv/h	$4-38	$4-48	$4-58	$4-68	$4-78	$4-88	$4-08	$4-18	$4-28

$type (γ) s/n: $bd_num5$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$5-30	$5-40	$5-50	$5-60	$5-70	$5-80	$5-00	$5-10	$5-20	±15
0,7 Sv/h	$5-31	$5-41	$5-51	$5-61	$5-71	$5-81	$5-01	$5-11	$5-21
7 Sv/h	$5-32	$5-42	$5-52	$5-62	$5-72	$5-82	$5-02	$5-12	$5-22
70 Sv/h	$5-33	$5-43	$5-53	$5-63	$5-73	$5-83	$5-03	$5-13	$5-23
0.7 mSv/h	$5-34	$5-44	$5-54	$5-64	$5-74	$5-84	$5-04	$5-14	$5-24
7,0 mSv/h	$5-35	$5-45	$5-55	$5-65	$5-75	$5-85	$5-05	$5-15	$5-25
70 mSv/h	$5-36	$5-46	$5-56	$5-66	$5-76	$5-86	$5-06	$5-16	$5-26
0,7 Sv/h	$5-37	$5-47	$5-57	$5-67	$5-77	$5-87	$5-07	$5-17	$5-27
7 Sv/h	$5-38	$5-48	$5-58	$5-68	$5-78	$5-88	$5-08	$5-18	$5-28

$type(γ) s/n: $bd_num6$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$6-30	$6-40	$6-50	$6-60	$6-70	$6-80	$6-00	$6-10	$6-20	±15
0,7 Sv/h	$6-31	$6-41	$6-51	$6-61	$6-71	$6-81	$6-01	$6-11	$6-21
7 Sv/h	$6-32	$6-42	$6-52	$6-62	$6-72	$6-82	$6-02	$6-12	$6-22
70 Sv/h	$6-33	$6-43	$6-53	$6-63	$6-73	$6-83	$6-03	$6-13	$6-23
0.7 mSv/h	$6-34	$6-44	$6-54	$6-64	$6-74	$6-84	$6-04	$6-14	$6-24
7,0 mSv/h	$6-35	$6-45	$6-55	$6-65	$6-75	$6-85	$6-05	$6-15	$6-25
70 mSv/h	$6-36	$6-46	$6-56	$6-66	$6-76	$6-86	$6-06	$6-16	$6-26
0,7 Sv/h	$6-38	$6-48	$6-58	$6-68	$6-78	$6-88	$6-08	$6-18	$6-28
7 Sv/h	$6-38	$6-48	$6-58	$6-68	$6-78	$6-88	$6-08	$6-18	$6-28

$type (γ) s/n: $bd_num7$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$7-30	$7-40	$7-50	$7-60	$7-70	$7-80	$7-00	$7-10	$7-20	±15
0,7 Sv/h	$7-31	$7-41	$7-51	$7-61	$7-71	$7-81	$7-01	$7-11	$7-21
7 Sv/h	$7-32	$7-42	$7-52	$7-62	$7-72	$7-82	$7-02	$7-12	$7-22
70 Sv/h	$7-33	$7-43	$7-53	$7-63	$7-73	$7-83	$7-03	$7-13	$7-23
0.7 mSv/h	$7-34	$7-44	$7-54	$7-64	$7-74	$7-84	$7-04	$7-14	$7-24
7,0 mSv/h	$7-35	$7-45	$7-55	$7-65	$7-75	$7-85	$7-05	$7-15	$7-25
70 mSv/h	$7-36	$7-46	$7-56	$7-66	$7-76	$7-86	$7-06	$7-16	$7-26
0,7 Sv/h	$7-37	$7-47	$7-57	$7-67	$7-77	$7-87	$7-07	$7-17	$7-27
7 Sv/h	$7-38	$7-48	$7-58	$7-68	$7-78	$7-88	$7-08	$7-18	$7-28

$type (γ) s/n: $bd_num8$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$8-30	$8-40	$8-50	$8-60	$8-70	$8-80	$8-00	$8-10	$8-20	±15
0,7 Sv/h	$8-31	$8-41	$8-51	$8-61	$8-71	$8-81	$8-01	$8-11	$8-21
7 Sv/h	$8-32	$8-42	$8-52	$8-62	$8-72	$8-82	$8-02	$8-12	$8-22
70 Sv/h	$8-33	$8-43	$8-53	$8-63	$8-73	$8-83	$8-03	$8-13	$8-23
0.7 mSv/h	$8-34	$8-44	$8-54	$8-64	$8-74	$8-84	$8-04	$8-14	$8-24
7,0 mSv/h	$8-35	$8-45	$8-55	$8-65	$8-75	$8-85	$8-05	$8-15	$8-25
70 mSv/h	$8-36	$8-46	$8-56	$8-66	$8-76	$8-86	$8-06	$8-16	$8-26
0,7 Sv/h	$8-37	$8-47	$8-57	$8-67	$8-77	$8-87	$8-07	$8-17	$8-27
7 Sv/h	$8-38	$8-48	$8-58	$8-68	$8-78	$8-88	$8-08	$8-18	$8-28

$type (γ) s/n: $bd_num9$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$9-30	$9-40	$9-50	$9-60	$9-70	$9-80	$9-00	$9-10	$9-20	±15
0,7 Sv/h	$9-31	$9-41	$9-51	$9-61	$9-71	$9-81	$9-01	$9-11	$9-21
7 Sv/h	$9-32	$9-42	$9-52	$9-62	$9-72	$9-82	$9-02	$9-12	$9-22
70 Sv/h	$9-33	$9-43	$9-53	$9-63	$9-73	$9-83	$9-03	$9-13	$9-23
0.7 mSv/h	$9-34	$9-44	$9-54	$9-64	$9-74	$9-84	$9-04	$9-14	$9-24
7,0 mSv/h	$9-35	$9-45	$9-55	$9-65	$9-75	$9-85	$9-05	$9-15	$9-25
70 mSv/h	$9-36	$9-46	$9-56	$9-66	$9-76	$9-86	$9-06	$9-16	$9-26
0,7 Sv/h	$9-37	$9-47	$9-57	$9-67	$9-77	$9-87	$9-07	$9-17	$9-27
7 Sv/h	$9-38	$9-48	$9-58	$9-68	$9-78	$9-88	$9-08	$9-18	$9-28

$type (γ) s/n: $bd_num10$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$10-30	$10-40	$10-50	$10-60	$10-70	$10-80	$10-00	$10-10	$10-20	±15
0,7 Sv/h	$10-31	$10-41	$10-51	$10-61	$10-71	$10-81	$10-01	$10-11	$10-21
7 Sv/h	$10-32	$10-42	$10-52	$10-62	$10-72	$10-82	$10-02	$10-12	$10-22
70 Sv/h	$10-33	$10-43	$10-53	$10-63	$10-73	$10-83	$10-03	$10-13	$10-23
0.7 mSv/h	$10-34	$10-44	$10-54	$10-64	$10-74	$10-84	$10-04	$10-14	$10-24
7,0 mSv/h	$10-35	$10-45	$10-55	$10-65	$10-75	$10-85	$10-05	$10-15	$10-25
70 mSv/h	$10-36	$10-46	$10-56	$10-66	$10-76	$10-86	$10-06	$10-16	$10-26
0,7 Sv/h	$10-37	$10-47	$10-57	$10-67	$10-77	$10-87	$10-07	$10-17	$10-27
7 Sv/h	$10-38	$10-48	$10-58	$10-68	$10-78	$10-88	$10-08	$10-18	$10-28

$type (γ) s/n: $bd_num11$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$11-30	$11-40	$11-50	$11-60	$11-70	$11-80	$11-00	$11-10	$11-20	±15
0,7 Sv/h	$11-31	$11-41	$11-51	$11-61	$11-71	$11-81	$11-01	$11-11	$11-21
7 Sv/h	$11-32	$11-42	$11-52	$11-62	$11-72	$11-82	$11-02	$11-12	$11-22
70 Sv/h	$11-33	$11-43	$11-53	$11-63	$11-73	$11-83	$11-03	$11-13	$11-23
0.7 mSv/h	$11-34	$11-44	$11-54	$11-64	$11-74	$11-84	$11-04	$11-14	$11-24
7,0 mSv/h	$11-35	$11-45	$11-55	$11-65	$11-75	$11-85	$11-05	$11-15	$11-25
70 mSv/h	$11-36	$11-46	$11-56	$11-66	$11-76	$11-86	$11-06	$11-16	$11-26
0,7 Sv/h	$11-37	$11-47	$11-57	$11-67	$11-77	$11-87	$11-07	$11-17	$11-27
7 Sv/h	$11-38	$11-48	$11-58	$11-68	$11-78	$11-88	$11-08	$11-18	$11-28

$type (γ) s/n: $bd_num12$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$12-30	$12-40	$12-50	$12-60	$12-70	$12-80	$12-00	$12-10	$12-20	±15
0,7 Sv/h	$12-31	$12-41	$12-51	$12-61	$12-71	$12-81	$12-01	$12-11	$12-21
7 Sv/h	$12-32	$12-42	$12-52	$12-62	$12-72	$12-82	$12-02	$12-12	$12-22
70 Sv/h	$12-33	$12-43	$12-53	$12-63	$12-73	$12-83	$12-03	$12-13	$12-23
0.7 mSv/h	$12-34	$12-44	$12-54	$12-64	$12-74	$12-84	$12-04	$12-14	$12-24
7,0 mSv/h	$12-35	$12-45	$12-55	$12-65	$12-75	$12-85	$12-05	$12-15	$12-25
70 mSv/h	$12-36	$12-46	$12-56	$12-66	$12-76	$12-86	$12-06	$12-16	$12-26
0,7 Sv/h	$12-37	$12-47	$12-57	$12-67	$12-77	$12-87	$12-07	$12-17	$12-27
7 Sv/h	$12-38	$12-48	$12-58	$12-68	$12-78	$12-88	$12-08	$12-18	$12-28

$type (γ) s/n: $bd_num13$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$13-30	$13-40	$13-50	$13-60	$13-70	$13-80	$13-00	$13-10	$13-20	±15
0,7 Sv/h	$13-31	$13-41	$13-51	$13-61	$13-71	$13-81	$13-01	$13-11	$13-21
7 Sv/h	$13-32	$13-42	$13-52	$13-62	$13-72	$13-82	$13-02	$13-12	$13-22
70 Sv/h	$13-33	$13-43	$13-53	$13-63	$13-73	$13-83	$13-03	$13-13	$13-23
0.7 mSv/h	$13-34	$13-44	$13-54	$13-64	$13-74	$13-84	$13-04	$13-14	$13-24
7,0 mSv/h	$13-35	$13-45	$13-55	$13-65	$13-75	$13-85	$13-05	$13-15	$13-25
70 mSv/h	$13-36	$13-46	$13-56	$13-66	$13-76	$13-86	$13-06	$13-16	$13-26
0,7 Sv/h	$13-37	$13-47	$13-57	$13-67	$13-77	$13-87	$13-07	$13-17	$13-27
7 Sv/h	$13-38	$13-48	$13-58	$13-68	$13-78	$13-88	$13-08	$13-18	$13-28

$type (γ) s/n: $bd_num14$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$14-30	$14-40	$14-50	$14-60	$14-70	$14-80	$14-00	$14-10	$14-20	±15
0,7 Sv/h	$14-31	$14-41	$14-51	$14-61	$14-71	$14-81	$14-01	$14-11	$14-21
7 Sv/h	$14-32	$14-42	$14-52	$14-62	$14-72	$14-82	$14-02	$14-12	$14-22
70 Sv/h	$14-33	$14-43	$14-53	$14-63	$14-73	$14-83	$14-03	$14-13	$14-23
0.7 mSv/h	$14-34	$14-44	$14-54	$14-64	$14-74	$14-84	$14-04	$14-14	$14-24
7,0 mSv/h	$14-35	$14-45	$14-55	$14-65	$14-75	$14-85	$14-05	$14-15	$14-25
70 mSv/h	$14-36	$14-46	$14-56	$14-66	$14-76	$14-86	$14-06	$14-16	$14-26
0,7 Sv/h	$14-37	$14-47	$14-57	$14-67	$14-77	$14-87	$14-07	$14-17	$14-27
7 Sv/h	$14-38	$14-48	$14-58	$14-68	$14-78	$14-88	$14-08	$14-18	$14-28

$type (γ) s/n: $bd_num15$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$15-30	$15-40	$15-50	$15-60	$15-70	$15-80	$15-00	$15-10	$15-20	±15
0,7 Sv/h	$15-31	$15-41	$15-51	$15-61	$15-71	$15-81	$15-01	$15-11	$15-21
7 Sv/h	$15-32	$15-42	$15-52	$15-62	$15-72	$15-82	$15-02	$15-12	$15-22
70 Sv/h	$15-33	$15-43	$15-53	$15-63	$15-73	$15-83	$15-03	$15-13	$15-23
0.7 mSv/h	$15-34	$15-44	$15-54	$15-64	$15-74	$15-84	$15-04	$15-14	$15-24
7,0 mSv/h	$15-35	$15-45	$15-55	$15-65	$15-75	$15-85	$15-05	$15-15	$15-25
70 mSv/h	$15-36	$15-46	$15-56	$15-66	$15-76	$15-86	$15-06	$15-16	$15-26
0,7 Sv/h	$15-37	$15-47	$15-57	$15-67	$15-77	$15-87	$15-07	$15-17	$15-27
7 Sv/h	$15-38	$15-48	$15-58	$15-68	$15-78	$15-88	$15-08	$15-18	$15-28

$type (γ) s/n: $bd_num16$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$16-30	$16-40	$16-50	$16-60	$16-70	$16-80	$16-00	$16-10	$16-20	±15
0,7 Sv/h	$16-31	$16-41	$16-51	$16-61	$16-71	$16-81	$16-01	$16-11	$16-21
7 Sv/h	$16-32	$16-42	$16-52	$16-62	$16-72	$16-82	$16-02	$16-12	$16-22
70 Sv/h	$16-33	$16-43	$16-53	$16-63	$16-73	$16-83	$16-03	$16-13	$16-23
0.7 mSv/h	$16-34	$16-44	$16-54	$16-64	$16-74	$16-84	$16-04	$16-14	$16-24
7,0 mSv/h	$16-35	$16-45	$16-55	$16-65	$16-75	$16-85	$16-05	$16-15	$16-25
70 mSv/h	$16-36	$16-46	$16-56	$16-66	$16-76	$16-86	$16-06	$16-16	$16-26
0,7 Sv/h	$16-37	$16-47	$16-57	$16-67	$16-77	$16-87	$16-07	$16-17	$16-27
7 Sv/h	$16-38	$16-48	$16-58	$16-68	$16-78	$16-88	$16-08	$16-18	$16-28

$type (γ) s/n: $bd_num17$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$17-30	$17-40	$17-50	$17-60	$17-70	$17-80	$17-00	$17-10	$17-20	±15
0,7 Sv/h	$17-31	$17-41	$17-51	$17-61	$17-71	$17-81	$17-01	$17-11	$17-21
7 Sv/h	$17-32	$17-42	$17-52	$17-62	$17-72	$17-82	$17-02	$17-12	$17-22
70 Sv/h	$17-33	$17-43	$17-53	$17-63	$17-73	$17-83	$17-03	$17-13	$17-23
0.7 mSv/h	$17-34	$17-44	$17-54	$17-64	$17-74	$17-84	$17-04	$17-14	$17-24
7,0 mSv/h	$17-35	$17-45	$17-55	$17-65	$17-75	$17-85	$17-05	$17-15	$17-25
70 mSv/h	$17-36	$17-46	$17-56	$17-66	$17-76	$17-86	$17-06	$17-16	$17-26
0,7 Sv/h	$17-37	$17-47	$17-57	$17-67	$17-77	$17-87	$17-07	$17-17	$17-27
7 Sv/h	$17-38	$17-48	$17-58	$17-68	$17-78	$17-88	$17-08	$17-18	$17-28

$type (γ) s/n: $bd_num18$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$18-30	$18-40	$18-50	$18-60	$18-70	$18-80	$18-00	$18-10	$18-20	±15
0,7 Sv/h	$18-31	$18-41	$18-51	$18-61	$18-71	$18-81	$18-01	$18-11	$18-21
7 Sv/h	$18-32	$18-42	$18-52	$18-62	$18-72	$18-82	$18-02	$18-12	$18-22
70 Sv/h	$18-33	$18-43	$18-53	$18-63	$18-73	$18-83	$18-03	$18-13	$18-23
0.7 mSv/h	$18-34	$18-44	$18-54	$18-64	$18-74	$18-84	$18-04	$18-14	$18-24
7,0 mSv/h	$18-35	$18-45	$18-55	$18-65	$18-75	$18-85	$18-05	$18-15	$18-25
70 mSv/h	$18-36	$18-46	$18-56	$18-66	$18-76	$18-86	$18-06	$18-16	$18-26
0,7 Sv/h	$18-37	$18-47	$18-57	$18-67	$18-77	$18-87	$18-07	$18-17	$18-27
7 Sv/h	$18-38	$18-48	$18-58	$18-68	$18-78	$18-88	$18-08	$18-18	$18-28

$type (γ) s/n: $bd_num19$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$19-30	$19-40	$19-50	$19-60	$19-70	$19-80	$19-00	$19-10	$19-20	±15
0,7 Sv/h	$19-31	$19-41	$19-51	$19-61	$19-71	$19-81	$19-01	$19-11	$19-21
7 Sv/h	$19-32	$19-42	$19-52	$19-62	$19-72	$19-82	$19-02	$19-12	$19-22
70 Sv/h	$19-33	$19-43	$19-53	$19-63	$19-73	$19-83	$19-03	$19-13	$19-23
0.7 mSv/h	$19-34	$19-44	$19-54	$19-64	$19-74	$19-84	$19-04	$19-14	$19-24
7,0 mSv/h	$19-35	$19-45	$19-55	$19-65	$19-75	$19-85	$19-05	$19-15	$19-25
70 mSv/h	$19-36	$19-46	$19-56	$19-66	$19-76	$19-86	$19-06	$19-16	$19-26
0,7 Sv/h	$19-37	$19-47	$19-57	$19-67	$19-77	$19-87	$19-07	$19-17	$19-27
7 Sv/h	$19-38	$19-48	$19-58	$19-68	$19-78	$19-88	$19-08	$19-18	$19-28

$type (γ) s/n: $bd_num20$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,07 Sv/h	$20-30	$20-40	$20-50	$20-60	$20-70	$20-80	$20-00	$20-10	$20-20	±15
0,7 Sv/h	$20-31	$20-41	$20-51	$20-61	$20-71	$20-81	$20-01	$20-11	$20-21
7 Sv/h	$20-32	$20-42	$20-52	$20-62	$20-72	$20-82	$20-02	$20-12	$20-22
70 Sv/h	$20-33	$20-43	$20-53	$20-63	$20-73	$20-83	$20-03	$20-13	$20-23
0.7 mSv/h	$20-34	$20-44	$20-54	$20-64	$20-74	$20-84	$20-04	$20-14	$20-24
7,0 mSv/h	$20-35	$20-45	$20-55	$20-65	$20-75	$20-85	$20-05	$20-15	$20-25
70 mSv/h	$20-36	$20-46	$20-56	$20-66	$20-76	$20-86	$20-06	$20-16	$20-26
0,7 Sv/h	$20-37	$20-47	$20-57	$20-67	$20-77	$20-87	$20-07	$20-17	$20-27
7 Sv/h	$20-38	$20-48	$20-58	$20-68	$20-78	$20-88	$20-08	$20-18	$20-28

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)