CALIBRATION CERTIFICATE
AT2327 Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-11/1

Measurement limits: BDKG-11/1: γ 0.01 µSv/h – 100 µSv/h;

Measurement error: BDKG-11/1: ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
$eng_facility_110;
Calibration data

BDKG-11/1 (γ) sn: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.03 µSv/h	$1-30.	$1-40.	$1-50.	$1-60.	$1-70.	$1-80.	$1-00.	$1-10.	$1-20.	±20
0.07 µSv/h	$1-31.	$1-41.	$1-51.	$1-61.	$1-71.	$1-81.	$1-01.	$1-11.	$1-21.
0.7 µSv/h	$1-32.	$1-42.	$1-52.	$1-62.	$1-72.	$1-82.	$1-02.	$1-12.	$1-22.
7 µSv/h	$1-33.	$1-43.	$1-53.	$1-63.	$1-73.	$1-83.	$1-03.	$1-13.	$1-23.
70 µSv/h	$1-34.	$1-44.	$1-54.	$1-64.	$1-74.	$1-84.	$1-04.	$1-14.	$1-24.

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)