CALIBRATION CERTIFICATE
AT2327 Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-02

Measurement limits: BDKG-02: γ 0.1 µSv/h – 10 Sv/h;

Measurement error: BDKG-02: ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_110;
- $eng_facility_130;
- $facility_src_cs_eng;

Calibration data

BDKG-02 (γ) sn: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20	±15
7 µSv/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
70 µSv/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
0.7 mSv/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23
7,0 mSv/h	$1-34	$1-44	$1-54	$1-64	$1-74	$1-84	$1-04	$1-14	$1-24
70 mSv/h	$1-35	$1-45	$1-55	$1-65	$1-75	$1-85	$1-05	$1-15	$1-25
0,7 Sv/h	$1-36	$1-46	$1-56	$1-66	$1-76	$1-86	$1-06	$1-16	$1-26
7 Sv/h	$1-37	$1-47	$1-57	$1-67	$1-77	$1-87	$1-07	$1-17	$1-27

S/N	Нс calibration value, / nSv/h	Source activity, / kBq

$bd_num_g1$	$grad1$	$activity

$bd_num_g2$	$grad2$	$activity

$bd_num_g3$	$grad3$	$activity

$bd_num_g4$	$grad4$	$activity

$bd_num_g5$	$grad5$	$activity

$bd_num_g6$	$grad6$	$activity

$bd_num_g7$	$grad7$	$activity

$bd_num_g8$	$grad8$	$activity

$bd_num_g9$	$grad9$	$activity

$bd_num_g10$	$grad10$	$activity

$bd_num_g11$	$grad11$	$activity

$bd_num_g12$	$grad12$	$activity

$bd_num_g13$	$grad13$	$activity

$bd_num_g14$	$grad14$	$activity

$bd_num_g15$	$grad15$	$activity

$bd_num_g16$	$grad16$	$activity

$bd_num_g17$	$grad17$	$activity

$bd_num_g18$	$grad18$	$activity

$bd_num_g19$	$grad19$	$activity

$bd_num_g20$	$grad20$	$activity

$bd_num_g21$	$grad21$	$activity

$bd_num_g22$	$grad22$	$activity

$bd_num_g23$	$grad23$	$activity

$bd_num_g24$	$grad24$	$activity

$bd_num_g25$	$grad25$	$activity

$bd_num_g26$	$grad26$	$activity

$bd_num_g27$	$grad27$	$activity

$bd_num_g28$	$grad28$	$activity

$bd_num_g29$	$grad29$	$activity

$bd_num_g30$	$grad30$	$activity

$bd_num_g31$	$grad31$	$activity

$bd_num_g32$	$grad32$	$activity

$bd_num_g33$	$grad33$	$activity

$bd_num_g34$	$grad34$	$activity

$bd_num_g35$	$grad35$	$activity

$bd_num_g36$	$grad36$	$activity

$bd_num_g37$	$grad37$	$activity

$bd_num_g38$	$grad38$	$activity

$bd_num_g39$	$grad39$	$activity

$bd_num_g40$	$grad40$	$activity

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)