CALIBRATION CERTIFICATE
AT2327 Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-11

Measurement limits: BDKG-11: γ 0.01 µSv/h – 100 µSv/h;

Measurement error: BDKG-11: ±15%

Operating conditions:
Air temperature	+$temp °C
Atmospheric pressure	98,5 kPa
Relative humidity	$vlag %
Gamma radiation background	$bground nSv/h

Calibration means:
$eng_facility_110;
Calibration data

BDKG-11 (γ) sn: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0.07 µSv/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20
0.7 µSv/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
7 µSv/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
70 µSv/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)