CALIBRATION CERTIFICATE
Type: Radiation monitor AT6130С	Date of calibration: $date.

S/N: $allSerial

Measurement limits:
from 10 µrem/h to 0.1 rem/h,

Measurement error: ±20 %

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground µrem/h

$facility_13+11eng

Calibration data

Gamma radiation
Radiation monitor AT6130C S/N $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, µrem/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
70 µrem/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20	±20
0.7 mrem/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
7,0 mrem/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
70 mrem/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)