CALIBRATION CERTIFICATE
AT2327 Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-02

Measurement limits: BDKG-02: γ 0.1 µSv/h – 10 Sv/h;

Measurement error: BDKG-02: ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_110;
- $eng_facility_130;
- $facility_src_cs_eng;

Calibration data

BDKG-02 (γ) sn: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$1-30.	$1-40.	$1-50.	$1-60.	$1-70.	$1-80.	$1-00.	$1-10.	$1-20.	±15
7 µSv/h	$1-31.	$1-41.	$1-51.	$1-61.	$1-71.	$1-81.	$1-01.	$1-11.	$1-21.
70 µSv/h	$1-32.	$1-42.	$1-52.	$1-62.	$1-72.	$1-82.	$1-02.	$1-12.	$1-22.
0.7 mSv/h	$1-33.	$1-43.	$1-53.	$1-63.	$1-73.	$1-83.	$1-03.	$1-13.	$1-23.
7,0 mSv/h	$1-34.	$1-44.	$1-54.	$1-64.	$1-74.	$1-84.	$1-04.	$1-14.	$1-24.
70 mSv/h	$1-35.	$1-45.	$1-55.	$1-65.	$1-75.	$1-85.	$1-05.	$1-15.	$1-25.
0,7 Sv/h	$1-36.	$1-46.	$1-56.	$1-66.	$1-76.	$1-86.	$1-06.	$1-16.	$1-26.
7 Sv/h	$1-37.	$1-47.	$1-57.	$1-67.	$1-77.	$1-87.	$1-07.	$1-17.	$1-27.

S/N	Нс calibration value, / nSv/h	Source activity, / kBq

$bd_num_g1$	$grad1$	$activity

$bd_num_g2$	$grad2$	$activity

$bd_num_g3$	$grad3$	$activity

$bd_num_g4$	$grad4$	$activity

$bd_num_g5$	$grad5$	$activity

$bd_num_g6$	$grad6$	$activity

$bd_num_g7$	$grad7$	$activity

$bd_num_g8$	$grad8$	$activity

$bd_num_g9$	$grad9$	$activity

$bd_num_g10$	$grad10$	$activity

$bd_num_g11$	$grad11$	$activity

$bd_num_g12$	$grad12$	$activity

$bd_num_g13$	$grad13$	$activity

$bd_num_g14$	$grad14$	$activity

$bd_num_g15$	$grad15$	$activity

$bd_num_g16$	$grad16$	$activity

$bd_num_g17$	$grad17$	$activity

$bd_num_g18$	$grad18$	$activity

$bd_num_g19$	$grad19$	$activity

$bd_num_g20$	$grad20$	$activity

$bd_num_g21$	$grad21$	$activity

$bd_num_g22$	$grad22$	$activity

$bd_num_g23$	$grad23$	$activity

$bd_num_g24$	$grad24$	$activity

$bd_num_g25$	$grad25$	$activity

$bd_num_g26$	$grad26$	$activity

$bd_num_g27$	$grad27$	$activity

$bd_num_g28$	$grad28$	$activity

$bd_num_g29$	$grad29$	$activity

$bd_num_g30$	$grad30$	$activity

$bd_num_g31$	$grad31$	$activity

$bd_num_g32$	$grad32$	$activity

$bd_num_g33$	$grad33$	$activity

$bd_num_g34$	$grad34$	$activity

$bd_num_g35$	$grad35$	$activity

$bd_num_g36$	$grad36$	$activity

$bd_num_g37$	$grad37$	$activity

$bd_num_g38$	$grad38$	$activity

$bd_num_g39$	$grad39$	$activity

$bd_num_g40$	$grad40$	$activity

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)