CALIBRATION CERTIFICATE
Date of calibration: $date$

Type: Detection unit BDKG-01

S/N: $bd_num$

Measurement limits:
BDKG-01:  0.1 Sv/h – 10 Sv/h;

Measurement error:
BDKG-01: ± 20 %

Operating conditions:

Air temperature	+20°C
Atmospheric pressure	99,1 kPa
Relative humidity	78 %

       The instrument is calibrated on the standard dosimetry facility AT-130, N 015, error ±4% (the Certificate of Compliance N 210-1427/18 on 23.10.2018 issued by FGUP "D.I.Mendeleyev VNIIM", St. Petersburg, Russia); AT-110, N 013, error ±5% (the Certificate of Compliance N 210-1426/18 on 22.10.2018 issued by FGUP "D.I.Mendeleyev VNIIM", St. Petersburg, Russia).

Calibration data

BDKG-01 ()
Conventionally true value (CTV) of dose rate,	Calibration data,
0.70 µSv/h	$p_1$ µSv/h
7.0 µSv/h	$p_2$ µSv/h
70.0 Sv/h	$p_3$ Sv/h
0.70 mSv/h	$p_4$ mSv/h
7.0 mSv/h	$p_5$ mSv/h
70.0 mSv/h	$p_6$ mSv/h
0.7 Sv/h	$p_7$ Sv/h
7.0 Sv/h	$p_8$ Sv/h

Calibrated by: V. Pisarenko	_____________
        (signature)

Technical control: N. Kurbatova _____________
        (signature)