CALIBRATION CERTIFICATE
Date of calibration $date$

Type BDKN-02 detection unit

S/N $bd_num$

Measurement limits:
Detection unit BDKN-02:	Flux density: n 0.1 – 104 s-1cm-2;
Dose rate: n 0.1 Sv/h – 10 mSv/h

Measurement error:
Detection unit BDKN-02:	± 20 %

Operating conditions:

Air temperature	+21°C
Atmospheric pressure	101 kPa
Relative humidity	65 %

The detection unit is calibrated with collimated beams of neutrons on the standard facility UPN-AT140
№ 001 with the set of Pu -  - Be neutron radiation sources (certificates of Compliance№ 210-1508/18 issued by VNIIM, St. Petersburg, Russia), error of ± 5 %.

Calibration data

Detection unit BDKN-02 (n)

Flux density
Conventionally true value (CTV) of flux density, / oi, 1/cm2s	Calibration data, / i, 1/cm2s
1019	$k1$
235	$k2$
57.0	$k3$
5.90	$k4$

Dose rate
Conventionally true value (CTV) of dose rate, / H0*(10), µSv/h	Calibration data, / H*(10), µSv/h
1434	$k5$

Calibrated by: V. Pisarenko _____________

Technical control: N. Kurbatova _____________