CALIBRATION CERTIFICATE
Type: Radiation monitor AT6130	Date of calibration: $date.

S/N: $allSerial

Measurement limits:
from 0.1 µSv/h to 10 mSv/h,
from 0 cps to 5103 cps

Measurement error: ±20 %

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

$facility_6130e_13+11+b

Calibration data

Gamma radiation, 137Cs
Radiation monitor AT6130 S/N $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20	±20
7 µSv/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
70 µSv/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
0.7 mSv/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23
7,0 mSv/h	$1-34	$1-44	$1-54	$1-64	$1-74	$1-84	$1-04	$1-14	$1-24

Radiation monitor AT6130 S/N $bd_num2$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$2-30	$2-40	$2-50	$2-60	$2-70	$2-80	$2-00	$2-10	$2-20	±20
7 µSv/h	$2-31	$2-41	$2-51	$2-61	$2-71	$2-81	$2-01	$2-11	$2-21
70 µSv/h	$2-32	$2-42	$2-52	$2-62	$2-72	$2-82	$2-02	$2-12	$2-22
0.7 mSv/h	$2-33	$2-43	$2-53	$2-63	$2-73	$2-83	$2-03	$2-13	$2-23
7,0 mSv/h	$2-34	$2-44	$2-54	$2-64	$2-74	$2-84	$2-04	$2-14	$2-24

Radiation monitor AT6130 S/N $bd_num3$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$3-30	$3-40	$3-50	$3-60	$3-70	$3-80	$3-00	$3-10	$3-20	±20
7 µSv/h	$3-31	$3-41	$3-51	$3-61	$3-71	$3-81	$3-01	$3-11	$3-21
70 µSv/h	$3-32	$3-42	$3-52	$3-62	$3-72	$3-82	$3-02	$3-12	$3-22
0.7 mSv/h	$3-33	$3-43	$3-53	$3-63	$3-73	$3-83	$3-03	$3-13	$3-23
7,0 mSv/h	$3-34	$3-44	$3-54	$3-64	$3-74	$3-84	$3-04	$3-14	$3-24

Radiation monitor AT6130 S/N $bd_num4$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$4-30	$4-40	$4-50	$4-60	$4-70	$4-80	$4-00	$4-10	$4-20	±20
7 µSv/h	$4-31	$4-41	$4-51	$4-61	$4-71	$4-81	$4-01	$4-11	$4-21
70 µSv/h	$4-32	$4-42	$4-52	$4-62	$4-72	$4-82	$4-02	$4-12	$4-22
0.7 mSv/h	$4-33	$4-43	$4-53	$4-63	$4-73	$4-83	$4-03	$4-13	$4-23
7,0 mSv/h	$4-34	$4-44	$4-54	$4-64	$4-74	$4-84	$4-04	$4-14	$4-24

Radiation monitor AT6130 S/N $bd_num5$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$5-30	$5-40	$5-50	$5-60	$5-70	$5-80	$5-00	$5-10	$5-20	±20
7 µSv/h	$5-31	$5-41	$5-51	$5-61	$5-71	$5-81	$5-01	$5-11	$5-21
70 µSv/h	$5-32	$5-42	$5-52	$5-62	$5-72	$5-82	$5-02	$5-12	$5-22
0.7 mSv/h	$5-33	$5-43	$5-53	$5-63	$5-73	$5-83	$5-03	$5-13	$5-23
7,0 mSv/h	$5-34	$5-44	$5-54	$5-64	$5-74	$5-84	$5-04	$5-14	$5-24

Radiation monitor AT6130 S/N $bd_num6$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$6-30	$6-40	$6-50	$6-60	$6-70	$6-80	$6-00	$6-10	$6-20	±20
7 µSv/h	$6-31	$6-41	$6-51	$6-61	$6-71	$6-81	$6-01	$6-11	$6-21
70 µSv/h	$6-32	$6-42	$6-52	$6-62	$6-72	$6-82	$6-02	$6-12	$6-22
0.7 mSv/h	$6-33	$6-43	$6-53	$6-63	$6-73	$6-83	$6-03	$6-13	$6-23
7,0 mSv/h	$6-34	$6-44	$6-54	$6-64	$6-74	$6-84	$6-04	$6-14	$6-24

Radiation monitor AT6130 S/N $bd_num7$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$7-30	$7-40	$7-50	$7-60	$7-70	$7-80	$7-00	$7-10	$7-20	±20
7 µSv/h	$7-31	$7-41	$7-51	$7-61	$7-71	$7-81	$7-01	$7-11	$7-21
70 µSv/h	$7-32	$7-42	$7-52	$7-62	$7-72	$7-82	$7-02	$7-12	$7-22
0.7 mSv/h	$7-33	$7-43	$7-53	$7-63	$7-73	$7-83	$7-03	$7-13	$7-23
7,0 mSv/h	$7-34	$7-44	$7-54	$7-64	$7-74	$7-84	$7-04	$7-14	$7-24

Radiation monitor AT6130 S/N $bd_num8$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$8-30	$8-40	$8-50	$8-60	$8-70	$8-80	$8-00	$8-10	$8-20	±20
7 µSv/h	$8-31	$8-41	$8-51	$8-61	$8-71	$8-81	$8-01	$8-11	$8-21
70 µSv/h	$8-32	$8-42	$8-52	$8-62	$8-72	$8-82	$8-02	$8-12	$8-22
0.7 mSv/h	$8-33	$8-43	$8-53	$8-63	$8-73	$8-83	$8-03	$8-13	$8-23
7,0 mSv/h	$8-34	$8-44	$8-54	$8-64	$8-74	$8-84	$8-04	$8-14	$8-24

Radiation monitor AT6130 S/N $bd_num9$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$9-30	$9-40	$9-50	$9-60	$9-70	$9-80	$9-00	$9-10	$9-20	±20
7 µSv/h	$9-31	$9-41	$9-51	$9-61	$9-71	$9-81	$9-01	$9-11	$9-21
70 µSv/h	$9-32	$9-42	$9-52	$9-62	$9-72	$9-82	$9-02	$9-12	$9-22
0.7 mSv/h	$9-33	$9-43	$9-53	$9-63	$9-73	$9-83	$9-03	$9-13	$9-23
7,0 mSv/h	$9-34	$9-44	$9-54	$9-64	$9-74	$9-84	$9-04	$9-14	$9-24

Radiation monitor AT6130 S/N $bd_num10$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation measurement error, θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µSv/h	$10-30	$10-40	$10-50	$10-60	$10-70	$10-80	$10-00	$10-10	$10-20	±20
7 µSv/h	$10-31	$10-41	$10-51	$10-61	$10-71	$10-81	$10-01	$10-11	$10-21
70 µSv/h	$10-32	$10-42	$10-52	$10-62	$10-72	$10-82	$10-02	$10-12	$10-22
0.7 mSv/h	$10-33	$10-43	$10-53	$10-63	$10-73	$10-83	$10-03	$10-13	$10-23
7,0 mSv/h	$10-34	$10-44	$10-54	$10-64	$10-74	$10-84	$10-04	$10-14	$10-24

Beta radiation, Sr-90+Y-90, area source 160 mm2
Radiation monitor AT6130 S/N $bd_num1$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β1-90	0660	β1-60	β1-70	β1-80	β1-00	β1-10	β1-20	±20
β1-91	6905	β1-61	β1-71	β1-81	β1-01	β1-11	β1-21
β1-92	0661	β1-62	β1-72	β1-82	β1-02	β1-12	β1-22
β1-93	0662	β1-63	β1-73	β1-83	β1-03	β1-13	β1-23

Radiation monitor AT6130 S/N $bd_num2$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β2-90	0660	β2-60	β2-70	β2-80	β2-00	β2-10	β2-20	±20
β2-91	6905	β2-61	β2-71	β2-81	β2-01	β2-11	β2-21
β2-92	0661	β2-62	β2-72	β2-82	β2-02	β2-12	β2-22
β2-93	0662	β2-63	β2-73	β2-83	β2-03	β2-13	β2-23

Radiation monitor AT6130 S/N $bd_num3$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β3-90	0660	β3-60	β3-70	β3-80	β3-00	β3-10	β3-20	±20
β3-91	6905	β3-61	β3-71	β3-81	β3-01	β3-11	β3-21
β3-92	0661	β3-62	β3-72	β3-82	β3-02	β3-12	β3-22
β3-93	0662	β3-63	β3-73	β3-83	β3-03	β3-13	β3-23

Radiation monitor AT6130 S/N $bd_num4$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β4-90	0660	β4-60	β4-70	β4-80	β4-00	β4-10	β4-20	±20
β4-91	6905	β4-61	β4-71	β4-81	β4-01	β4-11	β4-21
β4-92	0661	β4-62	β4-72	β4-82	β4-02	β4-12	β4-22
β4-93	0662	β4-63	β4-73	β4-83	β4-03	β4-13	β4-23

Radiation monitor AT6130 S/N $bd_num5$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β5-90	0660	β5-60	β5-70	β5-80	β5-00	β5-10	β5-20	±20
β5-91	6905	β5-61	β5-71	β5-81	β5-01	β5-11	β5-21
β5-92	0661	β5-62	β5-72	β5-82	β5-02	β5-12	β5-22
β5-93	0662	β5-63	β5-73	β5-83	β5-03	β5-13	β5-23

Radiation monitor AT6130 S/N $bd_num6$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β6-90	0660	β6-60	β6-70	β6-80	β6-00	β6-10	β6-20	±20
β6-91	6905	β6-61	β6-71	β6-81	β6-01	β6-11	β6-21
β6-92	0661	β6-62	β6-72	β6-82	β6-02	β6-12	β6-22
β6-93	0662	β6-63	β6-73	β6-83	β6-03	β6-13	β6-23

Radiation monitor AT6130 S/N $bd_num7$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β7-90	0660	β7-60	β7-70	β7-80	β7-00	β7-10	β7-20	±20
β7-91	6905	β7-61	β7-71	β7-81	β7-01	β7-11	β7-21
β7-92	0661	β7-62	β7-72	β7-82	β7-02	β7-12	β7-22
β7-93	0662	β7-63	β7-73	β7-83	β7-03	β7-13	β7-23

Radiation monitor AT6130 S/N $bd_num8$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β8-90	0660	β8-60	β8-70	β8-80	β8-00	β8-10	β8-20	±20
β8-91	6905	β8-61	β8-71	β8-81	β8-01	β8-11	β8-21
β8-92	0661	β8-62	β8-72	β8-82	β8-02	β8-12	β8-22
β8-93	0662	β8-63	β8-73	β8-83	β8-03	β8-13	β8-23

Radiation monitor AT6130 S/N $bd_num9$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β9-90	0660	β9-60	β9-70	β9-80	β9-00	β9-10	β9-20	±20
β9-91	6905	β9-61	β9-71	β9-81	β9-01	β9-11	β9-21
β9-92	0661	β9-62	β9-72	β9-82	β9-02	β9-12	β9-22
β9-93	0662	β9-63	β9-73	β9-83	β9-03	β9-13	β9-23

Radiation monitor AT6130 S/N $bd_num10$
Conventio-nally true value (CTV) of surface activity, As, Bq/cm2	Radiation source number	Measured radiation in test point, cps				Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, % / not above
		Measured value, cps			Average value, cps
		cps1	cps2	cps3
β10-90	0660	β10-60	β10-70	β10-80	β10-00	β10-10	β10-20	±20
β10-91	6905	β10-61	β10-71	β10-81	β10-01	β10-11	β10-21
β10-92	0661	β10-62	β10-72	β10-82	β10-02	β10-12	β10-22
β10-93	0662	β10-63	β10-73	β10-83	β10-03	β10-13	β10-23

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)