CALIBRATION CERTIFICATE
AT2327 Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-224

Measurement limits: BDKG-224: γ 0.04 µSv/h – 1 Sv/h;

Measurement error: BDKG-224: 0.04 µSv/h – 0.1 µSv/h: ±15%; 0.1 µSv/h – 1 Sv/h: ±10%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_110;
- $eng_facility_130;

Calibration data
BDKG-224 (γ) sn: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confiden-ce limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,06 µSv/h	$1-30.	$1-40.	$1-50.	$1-60.	$1-70.	$1-80.	$1-00.	$1-10.	$1-20.	±15
0,7 µSv/h	$1-31.	$1-41.	$1-51.	$1-61.	$1-71.	$1-81.	$1-01.	$1-11.	$1-21.
7 µSv/h	$1-32.	$1-42.	$1-52.	$1-62.	$1-72.	$1-82.	$1-02.	$1-12.	$1-22.
70 µSv/h	$1-33.	$1-43.	$1-53.	$1-63.	$1-73.	$1-83.	$1-03.	$1-13.	$1-23.
0,7 mSv/h	$1-34.	$1-44.	$1-54.	$1-64.	$1-74.	$1-84.	$1-04.	$1-14.	$1-24.
7,0 mSv/h	$1-35.	$1-45.	$1-55.	$1-65.	$1-75.	$1-85.	$1-05.	$1-15.	$1-25.
70 mSv/h	$1-36.	$1-46.	$1-56.	$1-66.	$1-76.	$1-86.	$1-06.	$1-16.	$1-26.
0,7 Sv/h	$1-37.	$1-47.	$1-57.	$1-67.	$1-77.	$1-87.	$1-07.	$1-17.	$1-27.

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)