CALIBRATION CERTIFICATE
Type: BDKG-23	Date of calibration: $date.

S/N: $allSerial

Measurement limits:
BDKG-23: γ 0.1 µGy /h – 100 Gy/h;

Measurement error:
BDKG-23: ±20%

Operating conditions:
Air temperature	+$temp °C
Atmospheric pressure	98,5 kPa
Relative humidity	$vlag %
Gamma radiation background	$bground nGy/h

$facility_13+11eng

Calibration data

BDKG-23 (γ) sn: $bd_num1$
Kerma rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Kerma rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nGy/h	Measured value Ḣ*i(10)			Average value, Hi(10)
				H1	H2	H3
0,7 µGy/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20	±20
7 µGy /h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
70 µGy /h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
0,7 mGy /h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23
7,0 mGy /h	$1-34	$1-44	$1-54	$1-64	$1-74	$1-84	$1-04	$1-14	$1-24
70 mGy /h	$1-35	$1-45	$1-55	$1-65	$1-75	$1-85	$1-05	$1-15	$1-25
0,7 Gy/h	$1-36	$1-46	$1-56	$1-66	$1-76	$1-86	$1-06	$1-16	$1-26
7 Gy/h	$1-37	$1-47	$1-57	$1-67	$1-77	$1-87	$1-07	$1-17	$1-27
40 Gy/h	$1-38	$1-48	$1-58	$1-68	$1-78	$1-88	$1-08	$1-18	$1-28

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)