CALIBRATION CERTIFICATE
AT2331 Emergency Alarm Dosimeter	Date of calibration: $date.

SN: $serial

Type: BDKG-25

Measurement limits: BDKG-25: γ 0.1 µGy/h – 1.0 Gy/h;

Measurement error: BDKG-25: ±30%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_110;
- $eng_facility_130;
Calibration data

BDKG-25 (γ) sn: $bd_num1$
Absorbed dose rate at check point Ḋoi	Radia-tion source number	Distan-ce to source, / R, сm	Absorbed dose rate measurement at check point					Relative measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nGy/h	Measured value Ḋi			Average value, Davп
				D1	D2	D3
0,7 µGy/h	$1-30	$1-40	$1-50	$1-60	$1-70	$1-80	$1-00	$1-10	$1-20	±30
7 µGy/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
70 µGy/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
0,7 mGy/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23
7,0 mGy/h	$1-34	$1-44	$1-54	$1-64	$1-74	$1-84	$1-04	$1-14	$1-24
70 mGy/h	$1-35	$1-45	$1-55	$1-65	$1-75	$1-85	$1-05	$1-15	$1-25
0,7 Gy/h	$1-36	$1-46	$1-56	$1-66	$1-76	$1-86	$1-06	$1-16	$1-26

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)