CALIBRATION CERTIFICATE

Type: Personal dosimeter AT3509	Date of calibration: $date

S/n: $allSerial

Measurement limits:
0.1 µSv/h – 1.0 Sv/h

Measurement error:
0.1 µSv/h – 0.99 µSv/h – ±30%,
1 µSv/h – 1 Sv/h – ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

$facility_13+11eng;

Calibration data:
AT3509 (γ) s/n: $bd_num1$
Dose rate at check point, / Ḣpi(10)	Radia-tion source number	Distance to source, / R, сm	Dose rate measurement / at check point, / Ḣpi(10)	Average value, / Ḣpi(10)	Relative measure-ment error / θi, %	Relative standard deviation, / Si, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative / error, % / not above
Background	---	---		$1-av-bg	---	---	---	---
0.80 µSv/h	$1-n0	$1-d0		$1-av0	$1-o0	$1-q0	$1-do0	±30
4.0 mSv/h	$1-n1	$1-d1		$1-av1	$1-o1	$1-q1	$1-do1	±15
800.0 mSv/h	$1-n2	$1-d2		$1-av2	$1-o2	$1-q2	$1-do2	±15

AT3509 (γ) s/n: ##bd_num1##
Actual dose value, / Hp0(10)	Radiation source number	d, cm / t, s	Measured dose value			Relative measure-ment error / θi, %	Confidence limit of the intrinsic relative error Δi, %	Limits of intrinsic relative error, / % / not above
			Hpi(10)	Hpi(10)meas.	Hpi(10)meas.-Hpi(10)
4.0 µSv	##1-dn_3	##1-dd_3 / 360s	##1-d_dev_3	##1-dose_3	##1-d_res_3	##1-o_pog_3	##1-d_gran_3	±15
4.0 mSv	##1-dn	##1-dd / 180s	##1-d_dev	##1-dose	##1-d_res	##1-o_pog	##1-d_gran	±15

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)