CALIBRATION CERTIFICATE
Type: $type	Date of calibration: $date.

S/N: $allSerial

Measurement limits:
$type: $min_limit µSv/h – $max_limit mSv/h;

Measurement error:
$type: ±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	98,5 kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

- $eng_facility_110
- $eng_facility_130.
.

Calibration data
$type (γ) sn: $bd_num1$
Dose rate at check point Ḣoi(10)	Radia-tion source number	Distan-ce to source, / R, сm	Dose rate measurement at check point,					Relative gamma radiation dose rate measure-ment error / θпрi, %	Confidence limit of the intrinsic relative error Δi, % during calibration	Limits of intrinsic relative error, / % / not above
			Back-ground, nSv/h	Measured value Ḣ*i(10)			Average value, Hi(10)
0,7 µSv/h	$1-30	$1-40	$1-50	$1-6a $1-6e $1-6i / $1-6b $1-6f $1-6j / $1-6c $1-6g / $1-6d $1-6h			$1-00	$1-10	$1-20	±15
7 µSv/h	$1-31	$1-41	$1-51	$1-61	$1-71	$1-81	$1-01	$1-11	$1-21
70 µSv/h	$1-32	$1-42	$1-52	$1-62	$1-72	$1-82	$1-02	$1-12	$1-22
700 µSv/h	$1-33	$1-43	$1-53	$1-63	$1-73	$1-83	$1-03	$1-13	$1-23
7,0 mSv/h	$1-34	$1-44	$1-54	$1-64	$1-74	$1-84	$1-04	$1-14	$1-24
70 mSv/h	$1-35	$1-45	$1-55	$1-65	$1-75	$1-85	$1-05	$1-15	$1-25

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)