CALIBRATION CERTIFICATE
Date of calibration:	$date
Type:	X-ray radiation dosimeter $type
S/N:	$allSerial
Measurement limits:	Ḣ'(0.07): 50 nSv/h – 100 µSv/h
Measurement error:	±15%

Operating conditions:
- Air temperature	+$temp °C
- Atmospheric pressure	$preasure kPa
- Relative humidity	$vlag %
- Gamma radiation background	$bground nSv/h

Calibration means:
- $eng_facility_007_110$.

Calibration data

$type S/N: $bd_num1$
Conventionally true value of the dose rate from 241Am radionuclide, {dot {H'}} rsub {0 i} (0.07)	Calibration data, / {bar {dot {H'}}} rsub {i} (0.07)
0.07 μSv/h	$1-00 µSv/h
0.7 μSv/h	$1-01 µSv/h
7 μSv/h	$1-02 µSv/h
70 μSv/h	$1-03 µSv/h

$eng_certificate_text$.

Calibrated by:	$calibratedBy
		(signature)
Technical control:	$controlledBy
		(signature)